## Slide 1: DYNAMIC SIMULATION OF RESIDENTIAL BUILDINGS WITH SORPTION STORAGE OF SOLAR ENERGY – PARAMETRIC ANALYSIS
ISES Solar World Congress 2011 - Kassel (Germany ) 31th August 2011
S. HENNAUT, S. THOMAS, E. DAVIN and Ph. ANDRE
Building Energy Monitoring and Simulation
University of Liège (BE)

## Slide 2: Presentation overview
Introduction
Seasonal heat storage with closed adsorption system
Description of the simulated system
Performances of the system
Modification of system components
Influence of storage reactor parameters
Conclusions

## Slide 3: Introduction
TES = important challenge
Improve solar energy use in buildings:
   supply = demand
Research objective
  100 % solar fraction
Thermochemical storage:
  sorption phenomenon
http://www.lookfordiagnosis.com/

## Slide 4: Seasonal heat storage with closed adsorption system
Adsorption reaction
Desorption: endothermic  storage charging during summer
Adsorption: exothermic  storage discharging during winter

## Slide 5: Description of the simulated system: Building energy demand
Existing wooden « low energy » building build recently
100 m² single family house
40 m² of the roof facing south: 40° slope
Space heating demand for Uccle (BE) : 3430 kWh/year

## Slide 6: Description of the simulated system: Description of the combisystem

## Slide 7: Description of the simulated system: Thermochemical storage model
Based on equilibrium curves
  Adsorbent/adsorbate
  Liquid/vapor of the adsorbate
Dynamic energy and mass balance of the reactor
Include some kinetics considerations
Evapo-condenser and low temperature source/sink: not simulated
  Evaporation temperature: constant at 5°C
  Condensation temperature: constant at 20°C
Reactor = 1 module containing all the salt
Only 1 cycle per year
TC reactor used as sensible storage if completely desorbed

## Slide 8: Description of the simulated system: Integration of the long-term storage

## Slide 9: Description of the simulated system: Integration of the long-term storage

## Slide 10: Performances of the system: reference
Excluding DHW consumption
Fsav,therm = 1
  More than 15 m² collectors
  Maximum quantity of salt necessary: 8750 kg
Including DHW consumption
Fsav,therm < 1
  TC storage not used as auxiliary heater for DHW

## Slide 11: Performances of the system: 17.5 m² collector and 7500 kg SrBr2
Useful energy sources and loads
Monthly reactor energy balance

## Slide 12: Modification of system components: Weather conditions
Location | Energy demand for space heating [kWh]
Uccle (BE) | 3430
Stockholm (SE) | 5825
Clermont-Ferrand (FR) | 2009

## Slide 13: Modification of system components: Collectors
Collectors | a0 [-] | a1 [W/(m².K)] | a2 [W/(m².K²)]
HP FPC | 0.8 | 1.57 | 0.0072
FPC | 0.81 | 3.6 | 0.0036
ETC | 0.601 | 0.767 | 0.004

## Slide 14: Influence of storage reactor parameters
Parameters | Reference value | New value
Water evaporation temperature in the evaporator [°C] | 5 | 10
Thermal losses coefficient through the reactor walls [W/K] | 3 | 10
Specific heat transfer coefficient through the heat exchanger [W/(Km²)] | 500 | 12.5
Vapor diffusion coefficient through the salt [m²/s] | 1E-9 | 2E-10
Vapor pressure drop between the evaporator and the salt, expressed as a valve coefficient [m³/h] | 8 | 16

## Slide 15: Influence of storage reactor parameters
Significant variations only for thermal losses
Necessary to insulate the reactor

## Slide 16: Conclusion
100 % energy saving for space heating:
  15 m² HP FPC
  8750 of SrBr2
Storage density
  All components
  Evaluation difficult at this stage
Current developments
  Prototype construction
  Economical and environmental evaluation

## Slide 17: Thank you for your attention!
Research presented is conducted in the SOLAUTARK project with the following partner’s:
ESE
ArcelorMittal Liège R&D
Atelier d’architecture Ph. Jaspard
ULB
CTIB
M5
UMons
ULg
This project is funded by the Plan Marshall of the Walloon Region.