INCLUDE the presenting author’s complete contact information i.e, name, company, address, country, and email.

Template

Miniaturized sample preparation and minimally invasive process for persistent organic pollutant analysis in humans

Benjamin L’Homme, and Jean-François Focant;  

University of Liège, Allée du 6 août B6c; Liège, B-4000, Belgium; Benjamin.lhomme@ulg.ac.be;

Humans all over the world are exposed to chemicals during their life time. Among the thousands of existing anthropogenic compounds are the persistent organic pollutants (POPs). This class of compounds includes polychlorodibenzo-p-dioxins/furans (PCDD/Fs), polychlorobiphenyls (PCBs), organochlorine pesticides (OCPs), and halogenated flame retardants (HFRs). Human biomonitoring of some of those toxic molecules is nowadays typically performed on relatively large samples (5-100mL blood) requiring uncomfortable and badly perceived venipunction for patients. Analysis on small amount (20µL) of blood could, by contrast, be considered as non-invasive since it simply consists in pricking the heel or finger to sample a few drops of blood from patients. However, such small biological samples, either in the liquid form or dried on filter paper (dried-blood spots (DBS)) require the development of specific miniaturized methods for reliable analysis at very low level.

We developed a method for the quantification of persistent organic pollutants (POPs), in the context of the Stockholm Convention, by miniaturized solid phase extraction using MEPS (micro-extraction by packed sorbent) and GC-MS/MS. Samples consist in 20µL of liquid serum as well as 20µL dried-blood spots. The study aims to push miniaturization to its limits; indeed, a maximum of 150µL of solvents are needed for the whole procedure. Results were compared to those obtained with classical analysis procedure including GC-HRMS methodology.

# Text boxes

Please complete the abstract using the template below by replacing the example given with your own submission.

Do not change the spacing (single), font (10 point Calibri), margins, or justification (left).  ABSTRACT LIMIT IS 250 WORDS.  Use bold text for the title (2 lines maximum).

List the authors separated by commas with superscript numbers to denote institutions if more than one.  Underline the name of the presenting author.  List the presenting author’s institute name in bold text and address, including country followed by a semicolon; then email address.  Add additional institute information as needed, then skip a line and enter your text.  For many examples, see: www.nacrw.org/2013/NACRWProgramAdditionalExamples.pdf