## Slide 1: Estimating Relative Change in Ventricular Stroke Work from Aortic Pressure
Shun Kamoi1, CG Pretty1, YS Chiew1, A Pironet2, T Desaive2
GM Shaw3, JG Chase1
1Department of Mechanical Engineering, University of Canterbury, New Zealand
2GIGA Cardiovascular Science, University of Liege, Belgium
3Intensive Care Unit, Christchurch Hospital, New Zealand

## Slide 2: Introduction
Cardiac and circulatory disease are the largest cause of death in the western world, and are the leading cause of ICU admission and mortality (WHO Global report)
  Expected to increase with increasing elderly population
  1 in every 3 deaths are related to cardiovascular disease
  Accounts for 30% of all ICU admissions (and mortality)
Patients with cardiovascular disease require hemodynamic monitors to obtain patient information for diagnosis and treatment

## Slide 3: Hemodynamic Monitors
Pressure catheter Blood pressure displayed on monitor
Blood Pressure Value?
Main determinants of blood pressure
Blood volume
Arterial wall stiffness
Stroke volume
Peripheral Resistance

## Slide 4: Ventricular Stroke Work
Considerations
Adding extra measurements are
clinically not feasible
“Humans are horribly variable”
(J.L Dickson et al)
Method
A model-based analysis of blood pressure waveform to estimate Stroke Work.
Analyse
Pressure
Contour
Estimate

## Slide 5: Aortic Pressure Model
Three Element Windkessel
Z0
R
C
- Characteristic impedance
- Peripheral resistance
- Aortic compliance
Reservoir pressure concept
Aortic pressure (Pao) can be represented as the sum of two pressure components
Reservoir pressure (Pres) accounts for the energy stored/released by the arterial wall
Excess pressure (Pex) which is extra work done by the heart to produce blood flow into aorta

## Slide 6: Parameter Relationships
Reservoir Pressure
Flow Leaving Aorta
Combine

## Slide 7: Pulse Wave Velocity
Distensibility
Bramwell-Hill equation Ventricular Stroke Work
α

## Slide 8: Experiment
To validate VSW estimation via aortic pressure model, data from porcine experiment were used.
GIGA Cardiovascular Science

## Slide 9: Stroke Work Changes
Mechanical ventilation settings
Step-wise changes in positive end expiratory pressure were made
Preload
Airway pressure increase and decrease changes the amount of blood flowing into the ventricle during diastole.

## Slide 10: Results
Estimated pc versus calculated VSW showing relationship between the two parameters. The plot indicates that there are high degree of agreement with correlation coefficient of R=0.71.
VSW trend was accurately captured

## Slide 11: Clinical Benefit
Patients cardiovascular performance can be analysed more accurately than just Mean Arterial Pressure (MAP)
Stroke work trend can be used to guide treatment selection and to titrate therapy
  Fluid resuscitation
  Use of inotrope and vasoactive drugs
Does not require specialised
equipment and/or personnel
Cost/Invasiveness
Clinical data
raw
model

## Slide 12: Limitation & Future Work
Sample data still too small
  Does the theory hold in afterload changes
  and/or different disease condition
  Could pulse wave velocity changes be validated using multiple pressure measurements
Aortic pressure measurements (Highly Invasive?)
  How much information can be retrieved from less invasive arterial pressure measurement
  Could the changes in transit time measured between ECG readings and radial arterial pressure.

## Slide 13: Acknowledgement
Supervisors
Bioengineering Centre
Medical Team at Liege
Questions?

## Slide 14: Parameter Identification
RC & Pmsf
Diastolic Condition:
ODE
Diastolic Reservoir
Z0C
Equilibrium Condition: