## Slide 1: SIZE OF CANNULAE FOR EXTRACORPOREAL CO2 REMOVAL THERAPIES
S. Habran, Th. Desaive, Ph. Morimont, B. Lambermont and P.C. Dauby

## Slide 2: Introduction
Notes: Introduce two concept:
-The need of of ECCO2R
Modelisation helpfull for this device

## Slide 3: Introduction
Intensive care unit
Pulmonary insufficiency
Notes: For the medical concept

## Slide 4: Introduction
Pulmonary insufficiency
Intensive care unit
Protective ventilation
Notes: A protective ventilation:
Hight FIO2, low tidal volume => hight pCO2 and acidosis

## Slide 5: Introduction
Pulmonary insufficiency
Intensive care unit
ECCO2R
Protective ventilation
Notes: An ECCO2R is a veno-venous ECLS with small blood flow.
The ECCO2R extract the inferior vena cava and the right atrium.
The aim of the device decrease the pCO2 rapidely but small cannula

## Slide 6: Introduction
Pulmonary insufficiency
Intensive care unit
Recovery
Notes: And of course the aim goal of the device is to reduce the mortality of patient under ECCO2R

## Slide 7: Introduction
Notes: For the mathematical concept …
A mathematical model = simulate a well known system. The goal of the modelisation of the respiration assisted by an ECCO2R

## Slide 8: Methods
Notes: The model is a lamped parameter model with three compartment: lung, tissues, ECCO2R. For the lung compartment, a pulmonary shunt is taking into account.

## Slide 9: Methods
Lungs
Tissues
Notes: In red, we have the material balance
The hypothesis of the O2 and CO2 equilibrium
In orange, it’ is the mixing
In blue, it’s the material balance

## Slide 10: Methods
ECCO2R
  Gas side
  Blood side
Notes: ECCO2R = second lung exepted that diffusion is smaller.
The hypothesis of equilibrium is not taken.
ECCO2R is devided into two compartments
Additional term which express the transfert

## Slide 11: Methods
ECCO2R
  Gaz side
  Blood side

## Slide 12: Methods
Notes: Link pressure and total => blood chemistry model.
O2 goes from… to … thanks 2 kind of transportations
CO2 goes from … to … thanks 3 kind of transportations

## Slide 13: Methods
Oxygen
Notes: So, we can write this equation for O2.
But the saturation of haemoglobine for O2

## Slide 14: Methods
Notes: Different equations exist in the litterature.
pCO2, pH => influence over the saturation
Graph = physiological state
Metabolic acidosis => pH dec.
Hypercapnic acidosis => pCO2 inc.

## Slide 15: Methods
CO2
Notes: 3kind of transport => more complicated.
Here empirical formula of the 3 species.

## Slide 16: Methods
CO2
Notes: The graphique = empirical formula for ≠ Sat
Straight line in purple = pCO2 diss

## Slide 17: Methods
pH
⇌
Notes: To compute pH, mainly the hydratation reaction of CO2.

## Slide 18: Methods
Validation
Data
  Weight
  Cardiac output
  Tidal volume
  Respiratory frequency
  Arterial and venous blood samples
  => Specific to the subject
Notes: Validation =experimental data => experiments on pig.
We needs …
Thanks to this data, we can …

## Slide 19: Results
Notes: For example, here you have experimental data.
The crosses correspond to
Vertical lignes correspond

## Slide 20: Result
Notes: The pink curve is …
The simulation of pCO2 in arteries is closed to the experimental data.

## Slide 21: Results
Pig 1
Pig 2
Notes: Validation => other pigs experiments
=> Other measurement => pH in arteries

## Slide 22: Results
Pig 2
Notes: Model is validated => change a parameter and observe the prediction
Decrease the gaz flow in the ECCO2R by a factor 2

## Slide 23: Results
Pig 2
Notes: Increase the gaz flow in the ECCO2R

## Slide 24: Results
Pig 2
Notes: Gas flow has litlle influence over pCO2 decrease in arteries.
On the other hand, blood flow has more influence.

## Slide 25: Results
Pig 1
Notes: Decrease of pCO2 for ≠ blood flow
Physiological values + small blood flow
=> 0.5 l/min

## Slide 26: Results
Blood pressure has to be
  > -50 mmHg
  < 300 mmHg
≠ of blood
Notes: To avoid blood damages, 2 blood pressure limits
Cannula which reinjected the blood
the condition always respect => the smallest
For the cannula which suck up the blood
=> dimaeter of the cannule = 10 Fr.
! Curves are under-estimated

## Slide 27: Conclusions
Notes: Simulation correspond with the measurements.
=> model can be validated.
Tanks to the model, pCO2 for different blood
=> Optimal blood flow and choose the right cannula.
Embellished conclusion

## Slide 28: Limitations
?
?
Notes: Some simulations ≠ to experipmental data.
Parameters constant in my simulation,
To choose the right cannula, Dpdrop tested with blood
DP change very much from an experiment to an other. Insertion ≠ ways, Blood clots

## Slide 29: Thank you for your attention
E-mail: simon.habran@ulg.ac.be