## Slide 1: A mathematical model of respiration under protective ventilation and extracorporeal CO2 removal therapy
S. Habran, Th. Desaive, Ph. Morimont, B. Lambermont and P.C. Dauby
Notes: Research = how improve the use of ECCO2RD

## Slide 2: Introduction
Notes: 2 concepts: need of - ECCO2RD
- modelisation

## Slide 3: Introduction
ARDS
Intensive care unit

## Slide 4: Introduction
Intensive care unit
ARDS

## Slide 5: Introduction
Intensive care unit
Protective ventilation
Ventilator
ARDS

## Slide 6: Introduction
Intensive care unit
ECCO2RT
Protective ventilation
ECCO2RD
Ventilator
ARDS

## Slide 7: Introduction
Intensive care unit
Recovery
ARDS

## Slide 8: Introduction
Why do clinicians need a mathematical model?
Notes: For the mathematical concept …
A mathematical model = simulate a well known system. The goal of the modelisation of the respiration assisted by an ECCO2R

## Slide 9: Introduction
Why do clinicians need a mathematical model?
  Better understanding of the complex system
  Prediction of the ECCO2RT for a specific patient
  Choice of the appropriate blood flow entering the ECCO2RD before connecting the device to the patient
Notes: For the mathematical concept …
A mathematical model = simulate a well known system. The goal of the modelisation of the respiration assisted by an ECCO2R

## Slide 10: Methods
Notes: The model is a lamped parameter model with three compartment: lung, tissues, ECCO2R. For the lung compartment, a pulmonary shunt is taking into account.

## Slide 11: Methods
Lungs
Material balance:
Notes: In red, we have the material balance
The hypothesis of the O2 and CO2 equilibrium
In orange, it’ is the mixing
In blue, it’s the material balance

## Slide 12: Methods
Lungs
Material balance:
Mixing of blood in the arteries:
Notes: In red, we have the material balance
The hypothesis of the O2 and CO2 equilibrium
In orange, it’ is the mixing
In blue, it’s the material balance

## Slide 13: Methods
Material balance:
Mixing of blood in the arteries:
Lungs
Tissues
Material balance:
Notes: In red, we have the material balance
The hypothesis of the O2 and CO2 equilibrium
In orange, it’ is the mixing
In blue, it’s the material balance

## Slide 14: Methods
Material balance:
Mixing of blood in the arteries:
Lungs
Tissues
Material balance:

## Slide 15: Methods
Material balance:
Mixing of blood in the arteries:
Lungs
Tissues
Material balance:

## Slide 16: Methods
Material balance:
Mixing of blood in the arteries:
Lungs
Tissues
Material balance:

## Slide 17: Methods
ECCO2RD
  Gas side
  Blood side
Material balance:
Material balance:
Notes: ECCO2R = second lung exepted that diffusion is smaller.
The hypothesis of equilibrium is not taken.

## Slide 18: Methods
ECCO2RD
  Gas side
  Blood side
Material balance:
Material balance:

## Slide 19: Methods
ECCO2RD
  Gas side
  Blood side
Material balance:
Material balance:

## Slide 20: Methods
ECCO2RD
  Gas side
  Blood side
Material balance:
Material balance:

## Slide 21: Methods
ECCO2RD
  Gas side
  Blood side
Material balance:
Material balance:

## Slide 22: Methods
Notes: Link pressure and total => blood chemistry model.

## Slide 23: Methods
Oxygen
Notes: So, we can write this equation for O2.

## Slide 24: Methods
Oxygen

## Slide 25: Methods
CO2
Notes: The graphique = empirical formula for ≠ Sat
Straight line in purple = pCO2 diss

## Slide 26: Methods
pH
⇌
Notes: To compute pH, mainly the hydratation reaction of CO2.

## Slide 27: Methods
Validation
Data
  Weight
  Cardiac output
  Tidal volume
  Respiratory frequency
  Arterial and venous blood samples
    pCO2, pO2
    pH
  => Specific to the subject
Notes: Validation =experimental data => experiments on pig.
We needs …
Thanks to this data, we can …

## Slide 28: Results
Validation 1: 4 healthy pigs
  Protective ventilation
  ECCO2RT
Validation 2: 6 pigs with ARDS
  Protective ventilation and ARDS
  ECCO2RT

## Slide 29: Results
Validation 1:
PV
QD 200
QD 400
PV
QD 200
QD 400
QD 600
PV
QD 200
QD 400
QD 600
PV
QD 200
QD 400
QD 600

## Slide 30: Results
Validation 2:

## Slide 31: Results

## Slide 32: Results
V

## Slide 33: Application in ICU

## Slide 34: Application in ICU
Data
  Weight
  Cardiac output
    Height and weight
  Tidal volume
  Respiratory frequency
  Arterial and venous blood samples
    pCO2, pO2
    pH
No real data => fictional patient

## Slide 35: Application in ICU

## Slide 36: Application in ICU
Qd

## Slide 37: Application in ICU
Qd

## Slide 38: Application in ICU
Different ECCO2RD on the market
Specification | ECCO2RD 1 | ECCO2RD 2 | ECCO2RD 3 | ECCO2RD 4
Blood flow | Up to 0.8 l/min | Up to 2.4 l/min | 0.5 – 4.5 l/min | 1 – 7 l/min
Surface area | 0.32 m2 | 0.65 m2 | 1.3 m2 | 1.9 m2
function | Partial CO2 removal | CO2 removal and partial oxygenation |  | CO2removal and oxygenation

## Slide 39: Application in ICU
Different ECCO2RD on the market
Specification | ECCO2RD 1 | ECCO2RD 2 | ECCO2RD 3 | ECCO2RD 4
Blood flow | Up to 0.8 l/min | Up to 2.4 l/min | 0.5 – 4.5 l/min | 1 – 7 l/min
Surface area | 0.32 m2 | 0.65 m2 | 1.3 m2 | 1.9 m2
function | Partial CO2 removal | CO2 removal and partial oxygenation |  | CO2removal and oxygenation

## Slide 40: Application in ICU
Size of the cannulae
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
Notes: To avoid blood damages, 2 blood pressure limits

## Slide 41: Application in ICU
Size of the cannulae
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
Adult cannulae
Notes: For the cannula which suck up the blood

## Slide 42: Application in ICU
Size of the cannulae
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
Adult cannulae
Notes: For the cannula which suck up the blood

## Slide 43: Application in ICU
Size of the cannulae
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
Adult cannulae
Notes: For the cannula which suck up the blood

## Slide 44: Application in ICU
Size of the cannulae
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
Adult cannulae
not blood
Notes: For the cannula which suck up the blood

## Slide 45: Application in ICU
Size of the cannulae
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
300
Adult cannulae
Notes: To avoid blood damages, 2 blood pressure limits
Cannula which reinjected the blood
the condition always respect => the smallest

## Slide 46: Application in ICU
Size of the cannulae
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
300
Adult cannulae
Notes: To avoid blood damages, 2 blood pressure limits
Cannula which reinjected the blood
the condition always respect => the smallest

## Slide 47: Conclusions
Notes: Simulation correspond with the measurements.
=> model can be validated.

## Slide 48: Conclusions
V
Notes: Tanks to the model, pCO2 for different blood
=> Optimal blood flow and choose the right cannula.

## Slide 49: Conclusions
V
.

## Slide 50: Thank you for your attention
E-mail: simon.habran@ulg.ac.be

## Slide 51: Application in ICU
Size of the cannulas
  Blood pressure has to be:
    > -50 mmHg
    < 300 mmHg
≠ of blood
Pediatric cannulae
Notes: To avoid blood damages, 2 blood pressure limits
Cannula which reinjected the blood
the condition always respect => the smallest
For the cannula which suck up the blood
=> dimaeter of the cannule = 10 Fr.
! Curves are under-estimated

## Slide 52: Application in ICU
Different ECCO2RD on the market