## Slide 1: Thermal infrared and terahertz digital holography and their applications
Dr. Marc GEORGES
Lasers & Non Destructive Testing Laboratory
Centre Spatial de Liège – Liège Université, Belgium
XXX School of Holography, Coherent Optics and Photonics
Kaliningrad, October 2-6, 2017

## Slide 2: The Centre Spatial de Liège
Research Center of Liege University
100 people
  Engineers/Scientists (2/3)
  Technicians
  Administratives
Excellence Center of Optics of the European Space Agency (ESA)

## Slide 3: The Centre Spatial de Liège
Optics for Space
Simulated space environment testing
Large chambers with optical benches
Development of optical
Space instrumentation
Development of
Advanced Technologies
Vacuum-Cryogeny
Quality insurance
Thermal Design
Signal Processing
Spaceborne Electronics
Smart sensors
Surface processing
Optical Design
Laser Metrology
Non Destructive Testing

## Slide 4: The Centre Spatial de Liège
Research in laser and optical metrology and NDT for aerospace
Dimensional measurement
Fringe projection
Digital Image Correlation
Full-Field Deformation measurement
Holography
Speckle interferometry
Shearography
Thermography
Pulsed + Lock-in
Vibrothermography (ULg)
Laser Ultrasonics

## Slide 5: OUTLINE
Introduction
  Recall some basics
  Analog holography – Digital holography
  Holographic interferometry
  Wavelength is a key factor
Holography in the Long-Wave IR
  Analog holography
  Digital holography
  Digital holographic interferometry
Holography in Terahertz waves (far IR)

## Slide 6: INTRODUCTION
Holography principle
LASER

## Slide 7: INTRODUCTION
Analog Holography : recording principle
Illumination pattern
Amplitude hologram
Absorption variation
Modification of holographic
medium properties
Thickness variation
Refractive index variation
Phase hologram

## Slide 8: INTRODUCTION
Photorefractive polymers
© Opt. Science Center, Tucson AZ
Photo-thermoplastics
© Newport
Silver halides (AgBr)
© Yves Gentet
Photorefractive inorganics
© ICMCB, Bordeaux
Analog Holography : recording materials

## Slide 9
Amplitude hologram
Analog holography : Diffraction by grating
Recording of amplitude hologram
Readout: diffraction process

## Slide 10: INTRODUCTION
Digital Holography – Speckle Interferometry – TV Holography ….
beam combiner
lens
LASER
Recording holograms by digital array sensors
No need chemical processing
Fast
Holograms stored in computer memory
Can be transfered by internet
Can be recorded at any wavelength, where sensors exist
CCD - CMOS
Analog holography vs. Digital Holography

## Slide 11: INTRODUCTION
Digital Holography principle
Fresnel diffraction integral (paraxial approximation)
Object plane
Sensor (hologram) plane

## Slide 12: INTRODUCTION
Hologram recording (no lens between object and sensor)
Reconstruction (Fresnel principle)
Intensity of recorded hologram
Remind: Analog case
Analytical expression representing the reference beam
d

## Slide 13
INTRODUCTION
Reconstruction – 2 : Discrete case
(1)
(4)
(3)
(2)
4
3
1
2
Digital
Analog

## Slide 14
Reconstruction – 3 : Some important points
Separation between diffraction orders
l: wavelength
Dpixel pitch
d: reconstruction distance
Angle between object and reference beam – Dimension of objects
In order to resolve hologram, angle b must be correctly chosen
Angle too small not resolved (Shannon theorem)
Angle too small : All diffracted orders superimpose
Case of « in-line holography »
d
INTRODUCTION

## Slide 15
Suppress low frequencies
(Kreis et Jüptner – 1997)
Suppress halo
(Skotheim – 2003)
Phase shifting (De Nicola, 2002)
Reconstruction – 4 : Filtering orders
INTRODUCTION

## Slide 16
Amplitude
Phase
INTRODUCTION
Reconstruction – 5 : Retrieving Amplitude and Phase

## Slide 17: INTRODUCTION
Some digital holography applications in visible
Digital holographic microscope
Cell division
Red blood cell
Membrane fluctuation
© Lynceetec
© Ovizio
Cell counting
MEMS
movement
© Lynceetec
Reflection
objects
Transparent objects/scenes

## Slide 18: INTRODUCTION
Holographic interferometry
Analog holography
Scattering objects in motion or under deformation
Digital holography
Real-time
Double-exposure
1 hologram stored + object visualised in real-time
2 holograms stored
Double-exposure
2 holograms stored
Sequence of holograms
N holograms stored
L << R, r, r’
Transparent objects undergoing phase change (e.g. refractive index changes)
Superposition of 2 holographic images

## Slide 19: INTRODUCTION
Interpretation of displacement/deformation
Intensity is maximized for
Distance between two fringes
Phase extraction
Phase quantification
Phase
unwrapping
Out-of-plane configuration
Holographic interferometry

## Slide 20: INTRODUCTION
Wavelength is a key factor for holography
Zoom of local interference pattern (hologram)
l/2
l/2
Phase map / displacement field
Pattern must be stable during recording
Set-up stability criterion : < l/10
Measurement range Number of fringes
CO2 laser
l=10 µm
(LWIR range)
Visible lasers : stability better than 50 nm
Visible lasers : range = 50 nm – 10 µm
stability can be only 1 µm
range = 1 µm – 200 µm
Only in laboratory conditions
Holography in the LWIR

## Slide 21: Analog holography in the LWIR

## Slide 22: ANALOG HOLOGRAPHY IN LWIR
Photosensitive holographic recording media at 10 µm
Wax & Gelatin films
(Kobayashi et al, Appl. Phys. Lett. 1971)
Thermochromic materials
(Chivian et al, Appl. Phys. Lett. 1969)
Plastics
(Rioux et al, Appl. Opt. 1977)
Oil films
(Lewandowski et al,
Appl. Opt. 1986)
Bismuth films
(Forman et al,
Appl. Phys. Lett. 1973)
Disadvantages
  Recording at 10.6 µm, readout at 633 nm (HeNe laser)
  Typ. 10 lines/mm (low resolution)
Consider digital recording of hologram

## Slide 23: Digital holography in the LWIR

## Slide 24: DIGITAL HOLOGRAPHY IN LWIR
Main components
Pitch 80 µm
124x124 pixels
1 µm – 3000 µm
Uncooled Pyroelectric Camera
Uncooled Microbolometer Camera
Pitch 15-20 µm
1280x960 pixels
8-14 µm
Cooled MCT Camera
15-20 µm
640x480 pixels
8-9 µm
Edinburgh Instruments
10.6 µm
CO2 laser
Quantum Cascade Laser
Daylight Solutions
A few Watt to few hundred Watts
Narrow linewidth
Hundred meters coherence lengths
Tunable wavelength
100 mW
3 meter coherence length

## Slide 25: DIGITAL HOLOGRAPHY IN LWIR
Specificities of digital holography in LWIR - 1
Observable objects
7 x larger at 10 µm
Lensless Digital Holography
Off-axis configuration
Sampling criterium
do: distance object - sensor
D: pixel pitch
Maximum size of recordable object
Using state-of-art LWIR sensors

## Slide 26: DIGITAL HOLOGRAPHY IN LWIR
Application : Large object capture
(M. Paturzo et al., Opt. Lett. 2010)
Capturing large objects hologram in LWIR – Display in visible
(A. Pellagoti et al., 3D Research 2010)
(M. Locatelli et al., Opt. Exp. 2012)

## Slide 27: DIGITAL HOLOGRAPHY IN LWIR
Specificities of digital holography in LWIR - 2
Uncoherent thermal background
Hologram sensor plane
In visible
In LWIR
4
3
3
4
1
2
1
1
Participes in
Low frequency term
Filtered out

## Slide 28: DIGITAL HOLOGRAPHY IN LWIR
Application : Lensless DH for looking through smoke/flames
Looking through smoke and flames
(M. Locatelli et al., Opt. Exp. 2012)
Classical
thermography
Lensless digital holography in LWIR

## Slide 29: DIGITAL HOLOGRAPHY IN LWIR
Looking through smoke
(M. Locatelli et al., Opt. Exp. 2012)
Through smoke:
Lensless LWIR Digital Holography
same capability than Thermography
Smoke transparent in LWIR
Application : Lensless DH for looking through smoke/flames

## Slide 30: DIGITAL HOLOGRAPHY IN LWIR
Detecting human being through flames
(M. Locatelli et al., Opt. Exp. 2012)
Application : Lensless DH for looking through smoke/flames
Also : Out-of-lab application !

## Slide 31: DIGITAL HOLOGRAPHY IN LWIR
Vibration applications
(P. Poggi, et al., Scientific Reports, 2016)
Remote monitoring of building oscillation modes
Out-of-lab application

## Slide 32: Digital holographic interferometry in the LWIR

## Slide 33: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 1
Motivation
  Full-field deformations of reflectors in vacuum-thermal testing
  Large reflectors: up to 4 m diameter
  Range of deformations: 1 µm – 250 µm
  Reflectors cannot be equipped with cooperative targets
  nor sprayed with scattering powder !
Herschel mission
Planck mission
Facility for Optical Calibration at the CSL

## Slide 34: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 1
  Reduce sensitivity to displacement to measure
  Reduce sensitivity to external perturbations
  Increase size of observable objects
  Objects reflects more specularly than in visible
Observable objects
7 x larger at 10 µm
Important when we use lenses: destruction of microbolometer pixels by CO2 laser

## Slide 35: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 1
LASER
Diffuser
To
reflector
Uncooled µ-bolometer
640x480 pixels
Pixel Pitch : 25 µm
Frame rate 60 Hz
16 bits
In-line Digital Holography : higher spatial resolution than off-axis
Phase-shifting for orders filtering
Scattering illumination

## Slide 36: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 1

## Slide 37: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 1
37
slide 37
Amplitude
Phase #1
Acquisitions (x4)
Phase #2
Mask
Phase diff.
Filtered and masked phase difference
unwrapping
Displacement map

## Slide 38: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 2
Study dark energy
Launch planned 2020

## Slide 39: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 2
NISP Detection System (NI-DS)
  Matrix of 4×4 detectors
  Teledyne TIS H2RG detectors
  FPA dimensions: 170 × 170 mm²
  Range: 1000 nm – 2000 nm
STM | STM | STM | STM
STM | STM | STM | STM
STM | STM | MUX | FM
STM | STM | FM | MUX

## Slide 40: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 2
Displacement field of the focal plane array (4x4 detectors)
  Cryogenic test (under vacuum)
  Determine deformation with 1 µm accuracy
  Determine piston and tilt of each detector from one another within +/- 10 µm
Specular object (no scattering powder sprayed on specimen)
Temporal phase unwrapping
Allows following disconnected zones

## Slide 41: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 2
Setup with scattering illumination
Temperature variation
Deformation between
293 K and 90 K
Vandenrijt, J., et al., Opt. Eng 55(12), 121723 (2016)
Implementation in vacuum chamber

## Slide 42: DIGITAL HOLOGRAPHIC INTERFEROMETRY IN LWIR
Metrology for space structures - 2

## Slide 43: Speckle interferometry (ESPI) in the LWIR

## Slide 44
SPECKLE INTERFEROMETRY IN LWIR
beam combiner
lens
LASER
Speckle interferometry
In speckle interferometry :
The image of the object is formed by
a lens on the image sensor
The interference with reference is
often called « specklegram »

## Slide 45
SPECKLE INTERFEROMETRY IN LWIR
Speckle interferometry principle
t=t1 :
t=t2 :
Phase-shifting
t=t1 :
t=t2 :
Speckle pattern subtraction
Multiple specklegram capture with controlled phase steps

## Slide 46: SPECKLE INTERFEROMETRY IN LWIR
Concept: LWIR Speckle Interferometry
Laser OFF
Thermal background
Laser ON
Hologram/Specklegram
Single sensor
Simultaneous measurement of
Temperature variation
Deformation

## Slide 47: SPECKLE INTERFEROMETRY IN LWIR
Motivation: Measurement of deformation AND temperature
Defect detection in aeronautics composite structures
Thermography :
Local Temperature change
Shearography :
Local deformation
Thermo-mechanical deformation of space composite structures
Thermographic camera
Holographic camera

## Slide 48
FANTOM : Full-Field Advanced Non-Destructive Technique for Online Thermo-Mechanical Measurement on Aeronautical Structures
Partner | Country | Profile
Centre Spatial de Liège Université de Liège |  | Coordinator – University Research Centre Development/application of non destructive testing techniques
Institut für Technische Optik Universität Stuttgart |  | University Research Centre Specialist of Holography
InfraTec GmbH |  | SME – Development of Thermography system and applications
Centro de Tecnologias Aeronauticas |  | Research Centre Specialist of Non Destructive Testing – Structural Tests
Optrion S.A. |  | SME – Development of Holography system and applications
Innov Support |  | SME – Servicing partner
Grant : ACP7-GA-2008-213457
Prof. Wolfgang Osten
Dr. Giancarlo Pedrini
Dr. Igor Alexeenko, now at

## Slide 49: SPECKLE INTERFEROMETRY IN LWIR
Demonstration of principle
Wrapped phase
Unwrapped phase
Temperature variation
Helicopter panel
3D plot of deformation
Georges, M., et al., “Combined holography and thermography in a single sensor through image-plane holography at thermal infrared wavelengths,” Opt. Exp. 22, 25517-25529 (2014)

## Slide 50: SPECKLE INTERFEROMETRY IN LWIR
Application
Laboratory set-up
Laboratory compact prototype
Alexeenko, I., et al. “Nondestructive testing by using long-wave infrared interferometric techniques with CO2 lasers and microbolometer arrays,”
Appl. Opt. 52(1), A56-A67 (2013)
Mobile system
Vandenrijt , JF., et al. “Mobile speckle interferometer in the long-wave
infrared for aeronautical nondestructive testing in field conditions,”
Opt. Eng. 52(10), 101903 (2013)

## Slide 51: SPECKLE INTERFEROMETRY IN LWIR
Application: holographic non destructive testing in
industrial environment (Airbus plant, Toulouse, France)
Airbus D41 « Tear Down »
« All Composite Aircraft » A350 Fuselage
FANTOM industrial prototype

## Slide 52: SPECKLE INTERFEROMETRY IN LWIR
Application
DT
Df
time
Lamp start
After 2 seconds
After 30 seconds
After 6 minutes

## Slide 53: Digital holography in THz

## Slide 54: DIGITAL HOLOGRAPHY IN THZ WAVES
The « Terahertz Gap »
“THz gap”
Least explored EM bands
Lack of sources/ detectors
IR
THz Gap
Visible
3 THz
100 µm
300 THz
1 µm
3 GHz
10 cm
30 GHz
1 cm
300 GHz
1 mm
300 MHz
1 m
30 THz
10 µm
Photonics
Electronics
Terahertz wave range (1 THz=1012 Hz)
Sandwiched between the microwave and infrared
Frequency: 0.3-10 THz
Wavelength: 30-1000 µm
1 THz ↔ 33.3 cm-1 ↔ 300 µm ↔ 4.1 meV

## Slide 55: DIGITAL HOLOGRAPHY IN THZ WAVES
Terahertz imaging
Unique properties
  Low photon energies
  Non ionizing
  Dielectric material penetration
  Spectroscopic features (interaction with matter)
  Various potential applications
Security and Defense
Source: “THz scanner imagery”,
www.dailymail.co.uk
Source: “Molecular imaging with terahertz waves” by SJ Oh et al. , 2011
Biomedical Applications
Source: “Damage and defect inspection with terahertz waves” by Redo-Sanchez et al., 2006
Nondestructive Inspection
Identification of drugs and explosives
Source: “Non-destructive terahertz imaging of illicit drugs using spectral fingerprints” by Kawase et al. ,2003

## Slide 56: DIGITAL HOLOGRAPHY IN THZ WAVES
Source: https://www.edinst.com/products/far-infrared-terahertz-gas-lasers/
Optical pumped Far-IR Gas Lasers
Molecular gases (CH3OH, CHOOH…)
Free Electron Lasers (FEL)
Source: http://www.lightsources.org/what-free-electron-laser
Quantum Cascade Lasers (QCL)
Source: http://www.rap.riken.jp/en/labs/twrg/tqdrt/index.html
p-Germanium (p-Ge) laser
Source: http://www.lightsources.org/what-free-electron-laser
Microwave Frequency Multipliers, Gunn diodes, IMPATT diodes
Source: http://terasense.com/products/terahertz-sources/
Source: https://en.wikipedia.org/wiki/Backward-wave_oscillator
Backward wave oscillator (BWO)
Terahertz continuous emitters
Optical/laser based
Electrical

## Slide 57: DIGITAL HOLOGRAPHY IN THZ WAVES
Terahertz broadband pulse emitters
Source: http://qcmd.mpsd.mpg.de/index.php/Broadband-Time-resolved-terahertz-spectroscopy.html
Optical rectification
Difference frequency generation
(ZnTe, GaP, GaSe, LiNbO3…)
Photoconductive Antennae
Photoinduced transient current generation
Source: http://qcmd.mpsd.mpg.de/index.php/Broadband-Time-resolved-terahertz-spectroscopy.html
Air plasma
Optical nonlinear effects in air plasmas
Source: “Intense terahertz generation in two-color laser filamentation: energy scaling with terawatt laser systems” by Oh et al., 2013

## Slide 58: DIGITAL HOLOGRAPHY IN THZ WAVES
Terahertz pulse detectors
Inverse principle than pulse emission (probe pulse is mandatory)
Photoconductive Antennae sampling
Detecting the transient current formed by photoinduced carrier driven by Terahertz electric field
Source: “Terahertz Applications by THz Time Domain Spectroscopy” by Iwasa, 2002
Source: “Highly precise and accurate terahertz polarization measurements based on electro-optic sampling with polarization modulation of probe pulses” by Nemoto et al., 2014
Electro-optic sampling
1st order EO effect produced by an EO crystal
ZnTe

## Slide 59: DIGITAL HOLOGRAPHY IN THZ WAVES
Terahertz detectors
Other detectors
Focal plane arrays (FPA) Uncooled thermal detectors
Source: https://en.wikipedia.org/wiki
Hack, E., et al., Comparison of Thermal Detector Arrays for Off-Axis THz Holography and Real-Time THz Imaging. Sensors (Basel), 2016. 16(2): p. 221.
VOx
320x240
Pitch 50 μm
NEP < 30pW @ 2.5 THz
SiN
320x240
Pitch 23.5 μm
NEP < 100pW @ 3 THz
LiTaO3
160x160
Pitch 80 μm
NEP < 30pW @ 2.5 THz
VOx
384x288
Pitch 35 μm
NEP < 25pW @ 2.55 THz
Microbolometers
Pyroelectric
Golay cells
Diode detectors
Most recent publications of THz
Digital Holography use FPA

## Slide 60: DIGITAL HOLOGRAPHY IN THZ WAVES
Terahertz optical components
Polarizers
Wire grid
Off-axis parabolic mirrors
Free from spherical aberrations
Beam manipulation: focus, collimation…
Lens, windows and beam splitters
Silicon
Polymers: PTFE, HDPE, TPX
Key factors: loss and dispersion at operating wavelength
main
manufacturers

## Slide 61: DIGITAL HOLOGRAPHY IN THZ WAVES
Terahertz 2D imaging by scanning
B. B. Hu and M. C. Nuss, "Imaging with terahertz waves," Opt. Lett. 20, 1716-1718 (1995)

## Slide 62: DIGITAL HOLOGRAPHY IN THZ WAVES
Digital Holography - 1
Heimbeck M., et al., Terahertz digital holography using angular spectrum and dual wavelength reconstruction methods., Optics Express, 2011. 9192-9200
Off-axis digital holography
Point-by-point recording
Scanning detector
Metallic object
Mask in transmission

## Slide 63: DIGITAL HOLOGRAPHY IN THZ WAVES
Heimbeck M., et al., Terahertz digital holography using angular spectrum and dual wavelength reconstruction methods., Optics Express, 2011. 9192-9200
Two-wavelength holography
Lens in THz transparent material
Variation of refractive index
Digital Holography - 2

## Slide 64: DIGITAL HOLOGRAPHY IN THZ WAVES
Xue, K, et al., Continuous-wave terahertz in-line digital holography., Optics Letters2012. 3228-3230
In-line (Gabor) digital holography
Metallic object
Concealed in THz transparent material
Gas laser
Digital Holography - 3

## Slide 65: DIGITAL HOLOGRAPHY IN THZ WAVES
Locatelli, M., et al., Real-time terahertz digital holography with a quantum cascade laser., Scientific Reports, 2015. 5: p. 13566.
Digital Holography - 4

## Slide 66: DIGITAL HOLOGRAPHY IN THZ WAVES
Locatelli, M., et al., Real-time terahertz digital holography with a quantum cascade laser., Scientific Reports, 2015. 5: p. 13566.
Digital Holography - 5

## Slide 67: DIGITAL HOLOGRAPHY IN THZ WAVES
Huang, H., et al., Continuous-wave terahertz multi-plane in-line digital holography. Optics and Lasers in Engineering, 2017. 94: p. 76-81.
Experimental set-up
Sample
Digital Holography - 5

## Slide 68: DIGITAL HOLOGRAPHY IN THZ WAVES
Synthetic aperture
Improves resolution
Phase retrieval
Before
After
Auto-focusing
Final 3D reconstruction
Huang, H., et al., Continuous-wave terahertz multi-plane in-line digital holography. Optics and Lasers in Engineering, 2017. 94: p. 76-81.
Digital Holography - 5

## Slide 69: CONCLUSION
Long-wave IR holography-speckle interferometry
  Insensitive/Low sensitivity to external perturbations
  Some specific features give nice applications
    Looking through flames/smokes
    Large displacements measurements
    Combined thermography-interferometry for NDT
THz holography
  New field
  Benefit from fast growing of components improvement
  Applications
    Can reveal concealed object (e.g. NDT)
    Many new exciting applications (biomedical)

## Slide 70: Большое спасибо !
mgeorges@ulg.ac.be
www.csl.ulg.ac.be