## Slide 2: From the distribution network operator to the distribution system operator: will artificial intelligence, machine learning and deep learning be the catalysts for this transformation?”
AI4Energy
Prepared for ORES by D. Vangulick

## Slide 3
Disclamer
« Difficult to see. Always in motion is the future »
Master Yoda (Empire strikes back)
"Predictions of the future are never anything but projections of present automatic processes and procedures, that is, of occurrences that are likely to come to pass if men do not act and if nothing unexpected happens”
Hannah Arendt (1906-1975)
« Prediction is very difficult, especially if it's about the future”
N. Bohr (1885-1962)

## Slide 4: A lot of new elements in the DSO’s backyards, just to mention of few…
Electric Vehicle
Flexibility
Bio-methanization
Renewable energy
communities
Gas

## Slide 5: A drastic change in the generation and balancing
+
Flexibility

## Slide 6: A drastic change in the generation and balancing
+
Flexibility

## Slide 7: Coordination between System needs and local constraints
Flexibilité = Equilibrage du système
If at the system level :
But meanwhile at local level:
Flexibility to balance the system

## Slide 8
Increasing risk of congestion on the DSO network, due to
    Intermittent and decentralized RES generation
    New demand appliances
    Flexibility market
Risk of contradictory request in real time operation, e.g.
    DSO requests to decrease generated power due to congestion on DSO grid
    while TSO/balancing market asks to increase generated power
“Max winter Peak” approach is no longer a viable method to plan and to assess operational security
To avoid these risks, there is a need to
    Observability: better knowledge of the network state
    Forecast the DSO network state
    Inform in advance the market about the state estimation of the network (mainly on the MV part)
Problem statement
From an Asset Owner to a System Operator

## Slide 9: On the time line
Operational planning horizon
Real Time Operation
horizon
Planning horizon
Decision investment & contracting
Decision preventive actions
Curative actions
5 Years … 1 month
1 month … 1 day
< 1/4h
Operational Receding horizon
1 day … 1/4h
O-ONE
ODESA
Trafic light
ORES Approaches
Rep. Day
Observability

## Slide 10
Real Time Operation
Low latency between “see” to “act”
Accurate and reliable actions means
Operational Planning
Forecasting load flow W-1 à ¼-1
Knowledge of the potential flexibility
Long Term Planning
Forecasting the loads at 15 … 30 years
Knowledge of the flexibility potential
Better “know your asset”
Data Quality
Observability Measures /Pseudo-measures
RT network topology
ORES Approaches
A future « Proof » Management of the DSO Network

## Slide 11: Observability and Pseudo-measures
Historically:
  Need of observability very low in DSO system
  Very few measurements devices (e.g only on primary substation)
Change in load flow => need to increase observability
  Increase the number of measurement points
  But measurements points €€€
Data-pseudo measures
      Objective function of the cluster: Energy, peak, power gradient

## Slide 12: Planning Horizon
Representative Day
  Planification = load flows in 20yy+20 …+30 = 1 year load flows
  Clustering techniques (e.g. K-Means with genetic algorithm):
    - 365 x 1/4h problem can be reduced to 12 x 1/4h
      Objective function of the cluster: Energy, peak, power gradient
Type of day | # day | Type of day | # day
Summer week | 3 | Winter week | 3
Summer WE | 2 | Winter WE | 2
Highest injection | 1 | Highest off-take | 1

## Slide 13: Operational Planning and trafic light
Trafic light
estimation
D+1
Alert on limit action of the flex. market
Alert activation T-Flex
Network reconfig
Smart
Grid
Network topology
D+1
Estimation load
D+1
State grid D+1
Knowing the potential flex capacity
(T and M)
Consumption
(>< off take)
Generation
(>< In feed)
Installed capacity
Generation scheduling
RES generation forecast
(weather)

## Slide 14: Operational Planning and trafic light
Trafic light
estimation
D+1
Alert on limit action of the flex. market
Alert activation T-Flex
Network reconfig
Smart
Grid
Network topology
D+1
Estimation load
D+1
State grid D+1
Knowing the potential flex capacity
(T and M)
Consumption
(>< off take)
Generation
(>< In feed)
Installed capacity
Generation scheduling
RES generation forecast
(weather)

## Slide 15: O-ONE
Max possible Generation =
Max Cap Trafo HV/MV+ Local consumption
O-ONE
  Forecast each 5 minutes
    Probable Generation
    Probable consumption
  Risk Assessment
  If risk unacceptable => set limits for each generator

## Slide 16: O-ONE
t=0
t+5’
t+10’
t+15’
RTU
ELIA

## Slide 17: Conclusion
will artificial intelligence, machine learning and deep learning be the catalysts for this transformation?
Yes for sure but
  Not immediately the full scope
  Not every where
  Not for ever
  Pragmatic approach
Other DSO’s aspects (not covered in these slides) will also require these methods e.g.
  tampering detection,
  power quality follow up,
  injection in gas network, …