## Slide 1: The interest in urine crystals recognition from a clinical point of view.
Romy Gadisseur
Department of Clinical Chemistry
CHU of Liège, Belgium
romy.gadisseur@chuliege.be

## Slide 2
For this presentation & in this field,
I have no financial disclosure to declare

## Slide 3
Renal stone disease
Nephrolithiasis/urolithiasis  kidney / urinary stone
Prevalence: 8-15%
  Gender ratio: M/F : 2/1
Renal colic
Complications:
  Genetical disease
  Infection
  Renal disease: 2-3 % of SF (3% of dialysis)
Recurrence: >30% within 10 years >60% in some subgroups

## Slide 4
Stone formation
Inherited conditions,
Urological malformation
Acquired conditions,
Diet
Oxalate
Calcium
Phosphate
Uric acid
Many others constituents
Urine biochemistry
Urine crystals
Stone
Analyses
Risk factors

## Slide 5
Laboratory Medicine Specialties
Whewellite
Primary Hyperoxaluria
Weddellite
Hypercalciuria
2,8-DHA
APRT deficiency
Cystine
Congenital cystinuria
Daudon Michel

## Slide 6
Ideal sample for crystalluria
Choice of sampling :
    Fasting urine is ideal : morning first or second urine
      High sursaturation
    Ideally urinated in the laboratory.
Standard Protocol :
    Urine stored at 37°C
      Sample processed upon receipt
        or within 3 hours at 37°C.
        or within 2 hours at 20°C.
      NEVER store at 4 degrees !

## Slide 7
FUS-3000 plus
AI - Artificial intelligence in the aim to better the automatic recognition of crystals

## Slide 8
Crystal and pH relation
Ammonium Urate
Struvite (MAPH)
Brushite
CaOx.H20
CaOx.2H20
Amorphe Urate
5,0
Uric acid
6,0
7,0
8,0
Amorphe Phosphate
7,95
7,45
6,65
6,35
5,90
5,55
5,20

## Slide 9
Uric acid crystalluria
Presence ≥ 0,1 crystal /mm3
  If urine pH < 5,3 = urine acidity
  If urine pH ≥ 5,3 = Hyperuricuria
Aggregates ≥ 100µm
  imbalance between inhibitors and promoters of crystallization
  GAG deficiency
  major risk of recurrence
pH dependent (< 6)

## Slide 10
If octahedron
  Supersaturation CaOx without clinical significance
If hexagonal - dodecahedron
  Major Hypercalciuria (6mmol/L)
Volume ≥ 500 µm3 /mm3
  If Primary Hyperoxaluria + renal transplant
    Risk of transplant rejection
If crystal > 35 µm
  Hypocitraturia + Hyperoxaluria
  Major risk of kidney stone
pH independent
Hypercalciuria
OxCa dihydrate (Weddellite) crystalluria

## Slide 11
OxCa monohydrate (Whewellite) crystalluria
Presence ≥ 0,1 crystal /mm3
    Hyperoxaluria
If hexagonal – stretched shuttle
  Ethylene-glycol intoxication
Presence > 200/mm3
  Major Hyperoxaluria : explore Primary Hyperoxaluria or enteric hyperoxaluria
pH independent
Hyperoxaluria

## Slide 12
Calcium Phosphate crystalluria
Presence ≥ 0,1 crystal /mm3
    No clinical significance
Granular casts ≥ 0,1 /mm3 or > 10 / mm3
    Explore tubular acidosis
    Alkalizing treatment
pH ≧ 6,6

## Slide 13
Struvite (Magnesium Ammonium PHosphate)
crystalluria
Presence ≥ 0,1 crystal /mm3
    Urinary tract infection due to urease bacteria
If other non-ureasic bacteria found
  Search for a second !
pH dependant (> 7)
Quite often with Ammonium urates
Uréolysis

## Slide 14
Brushite crystalluria
Presence ≥ 0,1 crystal /mm3
  hypercalciuria + hyperphosphaturia +/- hypocitraturia
Agregates ≥ 500µm3
  Explore Hyperparathyroidism
Heterogenous agregates « Brushite +CaOx.2H2O (weddellite) »
  major risk of recurrence of kidney stones
pH-dependant
Hypercalciuria

## Slide 15
Presence ≥ 0,1 crystal /mm3
    Hyperuricuria + Hyperammoniogenesis
If urine pH < 7,0
  Renal Hyperammoniogenesis – diarrhea, Phosphate deficiency
If urine pH >7,3
  Urinary hyperammonigenesis dur tu urinary tract infection and ureasic bacteria.
pH dependant (> 7)
Hyperuricuria
Quite often + Struvite
Ammonium urate crystalluria

## Slide 16
Cystine crystalluria
Presence ≥ 0,1 crystal /mm3
    Congenital Cystinuria – Congenital Cystinuria-Lysinuria
  6-8% kidney stone in children
Recurence
No recurence

## Slide 17: Criteria for interpreting crystalluria
Crystalline nature
Chemical component
Cystine, Struvite, Ammonium urate, 2,8-DHAd, Xanthine
Crystalline facies
Quantity
Crystal size
CaOx mono = hyperoxaluria
Brushite = Hypocitraturia without hyperoxaluria
Hexagonal CaOx di = major HCI
CaOx mono shuttles = Ethyleneglycol intox
Brushite : Primary Hyperparathyroidism – CaOx mono = Primary Hyperoxaluria Cystine volume = recurrent
CaOx di = Hyperoxaluria + HCI
Agregates
Citrate deficiency