## Slide 1
Devices for measuring interplay between photoprotection and phototaxis in Euglena gracilis
Promotor : Pierre Cardol
Co-promotor : Prof. Patrick E. Meyer
Alain GERVASI
BotaBotLab

## Slide 2: Context
Algae
Unicellular
Fresh water
Photosynthetic
Motile
Chlamydomonas reinhardtii
Euglena gracilis

## Slide 3: Photoprotection in general ?
Light
detection
Motility
Energy dissipation
?
?
?
?
Joint
measurement
Light
Medium composition
Environmental factors
Temp.
CO2
Timing
Efficiency
Interactions

## Slide 4: PSII fluorescence
1Chl*
Chl
Fluorescence
Photochemistry
Heat (NPQ)

## Slide 5: Fluorescence measurement
Time
Fluo
Actinic light
Measurement light pulse
NPQ
qP
qE
qT
qI
F0
Fs
Fm
Fm’
Fv/Fm = (Fm – F0) / Fm
ΦPSII = (Fm’ – Fs) / Fm’
qP PSII = (Fm’ – Fs) / (Fm – F0)
NPQ = (Fm - Fm’) / Fm’

## Slide 6
NPQ measurement
Chart: Mesure du NPQ d'une culture de C. reinhartii réalisée à 500µE

## Slide 7: Automated microscope
Gervasi et al. (2022) https://doi.org/10.3390/mi13060833

## Slide 8: Motility quantification
Image analysis
Acquisition/calibration
Preprocessing => Binarisation
Cell detection => Edge detection
Selection correction => Watershed
Tracking => Optical flow
Movement correction => Vector addition
Trajectory analysis
Data export
Gervasi et al. (2022) https://doi.org/10.3390/mi13060833

## Slide 9: Limitations of the microscope

## Slide 10: New microscope module

## Slide 11: Lighting system

## Slide 12: Joint measurements

## Slide 13: Thank you for your attention