## Slide 1: Validation of Calcein Violet as a marker of Apis mellifera semen viability in flow cytometry : preliminary results.
APIMONDIA 2023 – SANTIAGO CHILE
S EGYPTIEN, F. BRUTINEL, B. DEWALS, S. DELEUZE
Fundamental and Applied Resarch for Animal Health Research Unit University of Liège, Belgium

## Slide 2
Context
Improving cryopreservation
Evaluation after insemination
  Time consuming
  Planning
  Environmental influence: season length, queen loss
In vitro evaluation
  Immediate answer
  Repeatability
  No season limitation for evaluation: winter ok

## Slide 3
In vitro semen evaluation
Mammals:
  Parameters
  Modern techniques : fluorochrome dyes
  Multi-parameter analysis
Drone semen analysis: not much described
  Review Sperm Quality Assessment in Honey Bee Drones. Biology 2020,9,174
  Motility
  Viability :
    SYBR14 + PI fluorochromes
    Calcein Violet
Egyptien S., et al. Animals 2023, 13, 1874. https://doi.org/10.3390/ani13111874

## Slide 4
Multiple parameter sperm analysis
Small sample volume  1 sample - several parameters!
Several parameters robustness of analysis
!! Spectral overlapping !!
SYBR
PI
Viability
SYBR
PI
PE
Viability + Acrosamal Status
SYBR
PI
PE
DCF
Viability + Acrosomal Status + ROS
DCF
PE
Acrosomal Status + ROS
CaV
PE
DCF
Viability + Acrosomal Status + ROS

## Slide 5: MATERIAL AND METHODS
1. Validation of CaV using Serial staining combinations and dead controls in Epifluorescence
Live drone sperm is marked by calcein violet
Epifluorescence mandatory for validation but:
  Large sample
  Manual, 100 events
  Motility limitation
CaV -
PI +
CaV +

## Slide 6: Multiple parameter sperm analysis
Analysis thousands of events in a few seconds
Several lasers  several fluorochromes

## Slide 7: MATERIAL AND METHODS
2. Validation of CaV in Flow cytometry using dead controls
Controled percentage of dead spermatozoa in sample
Dead controls: semen heat treated for 20min at 60°C
Samples = (fresh semen + variable % of dead cells) stained or unstained

## Slide 8
1 ) >50x
2) Semen dilution : 5 x106/mL
1.4 µM
>10min no washing
3) Incubation
4) Flow cytometry
Material and MethodS

## Slide 9: Preliminary results
Heat treated semen : CaV 100% +
Non treated semen: CaV 100% +
Cell wash!
100%
0%

## Slide 10
1 ) >50x
2) Semen dilution : 5 x106/mL
1.4 µM - 10min
Washing
Resuspend in bee semen diluent
3) Incubation
4) Flow cytometry
Material and MethodS

## Slide 11: PreliMinary Results
50%
65%
2%
8%
10%
24%
50%
100%
0%
75%

## Slide 12: discussion
2 to 8% autofluorescence (in heat treated or non treated samples)
Correction of raw data eg: 65% of positive cells in non treated samples  63% of live sperm
10% - 8% = 2% of live sperm in killed sample : Preserved mb integrity
Observed in 75% : 17.5%  24% measured – 6.5% of autofluorescence
Expected in 75% : 17.25 %
Observed in 50% : 45 %  50% measured – 5% of autofluorescence
Expected in 50% : 32.5 %
Statistical analysis not possible, only one sample

## Slide 13: cONCLUSION
Fine tuning needed to validate the use of CaV in flow cytometry
  Automated modern technique
  Small sample volume / large number events analysis (+-30 000 cells evaluated/analysis)
Promising preliminary results
Need to validate new fluorochromes evaluating more drone semen parameters

## Slide 14: cONCLUSION
Drone semen evaluation perfect solution