## Slide 1: Eurocodes applied to fire scenarios From a fire scenario to dimensioning jm.franssen@ulg.ac.be

## Slide 2
What are the Eurocodes?
A series of textbooks
containing recommendations
for calculating
the stability
of building structures

## Slide 3
Redaction started in 1975, the Eurocodes were written on a voluntary base (by professional associations) with the support of the C.E.C., then a mandate was given to CEN in 1989.
Eurocodes (circa 1990)
prENV
ENV (circa 1995) + National Application Documents
prEN
EN (circa 2000-2005) +National Annexes

## Slide 4
On a voluntary base
Because of a contract
Because of a law
Requirements
On a voluntary base
Because of a contract
Because of a law
Utilisation of the Eurocodes
Fire resistance = ….

## Slide 5
Which law?
Basis norms
Annex 2 (low rise buildings)
Annex 3 (middle rise buildings)
Annex 4 (high rise buildings)
Annex 6 (industrial buildings)
Regional decrees
Etc
Requirements
Because of a law

## Slide 6
On a voluntary base
Because of a contract
Because of a law
Requirements
On a voluntary base
Because of a contract
Because of a law
Utilisation of the Eurocodes
Fire resistance = ….

## Slide 7
Which law ?
Article 2 of Annex 1 of Basis Norms.
Because of a law
Utilisation of the Eurocodes

## Slide 8
The fire resistance of a building element can be demonstrated,
either by a fire test (used to be NBN 713-020, now EN’s)
or by a calculation method approved by the Ministry of Interior.
As of today (October 2010), there is no approved method.
The following situation might be adopted:
Approved method = Eurocodes
For tabulated data, calculation can be made by the person responsible of the stability under room temperature.
For simple calculation models: either the designer is approved, or the calculation is checked by an approved organisation.
For general calculation models (F.E.) or utilisation of any natural fire curve: Derogation Commission.

## Slide 9
Article 3.1 of Annex 6 of Basis Norms.
Which law ?
Because of a law
Utilisation of the Eurocodes

## Slide 10
Eurocode number | Ambient canditions | Fire conditions
Basis of design | EN 1990 | -
Actions | EN 1991-1-1 | EN 1991-1-2
Concrete structures | EN 1992-1-1 | EN 1992-1-2
Steel structures | EN 1993-1-1 | EN 1993-1-2
Composite steel-concrete structures | EN 1994-1-1 | EN 1994-1-2
Timber structures | EN 1995-1-1 | EN 1995-1-2
Masonry structures | EN 1996-1-1 | EN 1996-1-2
Geotechnical design | EN 1997 | -
Earthquake resistance | EN 1998 | -
Aluminium alloy structures | EN 1999-1-1 | EN 1999-1-2

## Slide 11
From fire scenario to dimensioning: general layout
Fire Scenario
T = f(x,y,z,t)
Mechanical loads
in the fire situation
M, N, V
Design method
R = x minutes
Thermal calculation
Mechanical calculation

## Slide 12
Eurocode number | Ambient canditions | Fire conditions
Basis of design | EN 1990 | -
Actions | EN 1991-1-1 | EN 1991-1-2
Concrete structures | EN 1992-1-1 | EN 1992-1-2
Steel structures | EN 1993-1-1 | EN 1993-1-2
Composite steel-concrete structures | EN 1994-1-1 | EN 1994-1-2
Timber structures | EN 1995-1-1 | EN 1995-1-2
Masonry structures | EN 1996-1-1 | EN 1996-1-2
Geotechnical design | EN 1997 | -
Earthquake resistance | EN 1998 | -
Aluminium alloy structures | EN 1999-1-1 | EN 1999-1-2

## Slide 13
From fire scenario to dimensioning: general layout
Fire Scenario
T = f(x,y,z,t)
Mechanical loads
M, N, V
Design method
R = x minutes

## Slide 14
From fire scenario to dimensioning
Method 1: Tabulated data
ISO fire
T = f(x,y,z,t)
Pd,fi = Gk + 0.5 qk,1
Load ratio mfi = pd,fi / pd
Tabulated data
Element by element
R = x minutes

## Slide 16
T = f(t)
Pd,fi = Gk + 0.5 qk,1
M, N ,V at t = 0
Simple calculation model
Element by element
R = x minutes
From fire scenario to dimensioning
Method 2: Simple calculation model
ISO fire

## Slide 17
T = f(x,y,t)
Pd,fi = Gk + 0.5 qk,1
M, N ,V at t = 0
From fire scenario to dimensioning
Method 3: Advanced calculation model
Any fire
Advanced calculation model
For the whole structure
R = x minutes

## Slide 21
Thank you