ImmunoCAP© ISAC: interest in allergy diagnosis.

Authors

Gadisseur, Romy ; Chapelle, Jean-Paul ; Cavalier, Etienne
University Hospital of Liège, Department of Clinical Chemistry, Liège, Belgium;

Abstract

Background: The ImmunoCAP© ISAC permits to run Component Resolved Diagnosis (CRD) assays rapidly and cost-effectively. In this technique, 103 recombinant or purified allergen components from many different allergen sources are microarrayed in a single analytical step.

Aims of the study: The aim of our study was to make a first validation of the method and to find out the interest of this technique for allergy diagnosis.

Methods: We selected 22 sera of patients followed for their allergy. Thus, 17 sera had positive (>0.35 kUI/L) specific IgE (sIgE) for different kind of sources (latex, peanut, birch, timothy grass, hazelnut, peach, soja, cat or dog). In all, 136 sIgE for recombinant had been performed. Sixteen patients were selected on the basis of a clinical anamnesis of allergy. Nine patients underwent Skin Prick Tests (SPT) during the medical consultation. We managed a microarray determination on each serum. Then, we compared the results obtained with the sIgE, the SPT or the anamnesis.

Results: The ImmunoCAP© ISAC gives similar results to those of the SPT. Amongst the 136 sIgE against recombinant allergens tested, the ImmunoCAP© ISAC found 132 times concordant results. The ImmunoCAP© ISAC provided results in agreement with the anamnesis in all the 16 cases. It permitted also to find out an allergy to a major allergen of peanut and of hazelnut.

Conclusions: Our first results demonstrate that the ImmunoCAP© ISAC gives similar results to those of the sIgE and of the SPT. This technique allowed us to see, in a single analytical step, the allergen sensitization profile of a patient.  Most importantly, it permitted to avoid a hazardous oral provocation test in an allergic patient.